- Ground Water -Handpump  at SIDCUL Induustrial  Area 1, Haridwar,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| June-20 | 7.31 |  |  |  |  | 385 | 15 | 99 | 28 | 301 | 430 | Absent | Absent | 682 |

- Ground Water -Handpump  at SIDCUL Induustrial  Area 2, Haridwar,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| June-20 | 7.24 |  |  |  |  | 315 | 22 | 40 | 49 | 301 | 394 | Absent | Absent | 693 |

- Ground Water -Handpump  at Bhagwanpur Industrial Area-1, Haridwar,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| June-20 | 7.35 |  |  |  |  | 244 | 71 | 95 | 17 | 306 | 371 | Absent | Absent | 604 |

- Ground Water -Handpump  at Bhagwanpur Industrial Area-2, Haridwar,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| June-20 | 7.80 |  |  |  |  | 277 | 17 | 40 | 16 | 166 | 288 | Absent | Absent | 356 |

- Ground Water -Handpump  at Roorkee,  Industrial Area-1, Haridwar,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| June-20 | 7.31 |  |  |  |  | 250 | 22 | 52 | 25 | 231 | 342 | Absent | Absent | 552 |

- Ground Water -Handpump  at Roorkee,  Industrial Area-2, Haridwar,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| June-20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

- Water Municipal Solid Waste Landfill Site, Sarai, Jwalapur,  Uttarakhand (Left Side of

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| June-20 | 7.28 |  |  |  |  | 293 | 39 | 93 | 28 | 346 | 401 | Absent | Absent | 651 |

- Water Municipal Solid Waste Landfill Site, Sarai, Jwalapur,  Uttarakhand (Right Side of

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| June-20 | 7.34 |  |  |  |  | 342 | 44 | 135 | 29 | 457 | 581 | Absent | Absent | 942 |

- Ground Water at RBNS Sugar Mill Near Main Gate Sugar Colony

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| June-20 | 7.27 |  |  |  |  | 402 | 42 | 97 | 39 | 402 | 470 | Absent | Absent | 763 |

- Ground Water at Padartha (Near Primary School, Padartha, Laksar Road, Haridwar)

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| June-20 | 7.38 |  |  |  |  | 315 | 22 | 83 | 32 | 336 | 353 | Absent | Absent | 576 |

- Ground Water -Handpump  Selaqui, Industrial Area 1,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| July-20 | 7.58 |  |  | 17 |  | 73 | 17 | 46 | 36 | 82 | 82 |  | <2 | 125 |

- Ground Water -Handpump  Selaqui, Industrial Area 2,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| July-20 | 7.56 |  |  | 18 |  | 84 | 14 | 56 | 41 | 97 | 136 |  | <2 | 210 |

- Ground Water -Handpump  Near Govt. Primary , Kashipur,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Apr-20 | 7.6 | 1.6 | 8 | 30 |  | 148 | 14 | 155 | 38 | 193 | 251 |  |  | 374 |

- Ground Water -Handpump  Near Chaiti Chauraha, Bazpur Road , Kashipur,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Apr-20 | Dry |

- Ground Water -Handpump  in village Damauda at Kashipur near India Glycos Ltd.,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Apr-20 | 8 | 1.2 | 4 | 30 | 1.2 | 176 | 18 | 94 | 63 | 157 | 190 |  |  | 258 |

- Ground Water -Handpump  Near Kendriya Vidhyala, Bazpur Road , Kashipur,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Apr-20 | 7.8 | 2 | 6 | 29 |  | 160 | 12 | 67 | 48 | 115 | 213 |  |  | 304 |

- Ground Water -Handpump  Near Govt. Gurudwara, Muradabad Raod, Kashipur,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Apr-20 | 7.8 | 1.6 | 6 | 29 |  | 128 | 28 | 44 | 216 | 260 | 275 |  |  | 410 |

- Ground Water -Handpump  Near Sitarganj, Industrial Area-1 , Kashipur,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Apr-20 | Dry |

- Ground Water -Handpump  Near Sitarganj, Industrial Area-2 , Kashipur,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Apr-20 | 7.4 | 4 | 12 | 29 |  | 250 | 26 | 139 | 79 | 216 | 368 |  |  | 549 |

- Ground Water -Handpump  at Pantnagar, Industrial Area-1,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Apr-20 | 7.50 | 2 | 4 | 30 |  | 156 | 16 | 96 | 54 | 150 | 226 |  |  | 303 |

- Ground Water -Handpump  at Pantnagar, Industrial Area-2,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Apr-20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

- Ground Water -Handpump  at Santipuri, Kichha-1,   Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Apr-20 | 7.9 | 2.6 | 8 | 31 |  | 172 | 16 | 118 | 60 | 178 | 230 |  |  | 312 |

- Ground Water -Handpump  at Santipur, Kichha-2,  Uttarakhand

| Month | pH | BOD (mg/L) | COD (mg/L) | Temp (℃) | DO (mg/L) | Alkalinity as CaCo3 (mg/L) | Chlorides (mg/L) | Calcium as Ca(mg/L) | Magnesium as Mg (mg/L) | Hardness as CaCO3 (mg/L) | Total Dissolved Solids (mg/L) | Fecal Coliform (MPN/ 100 mL | Total Coliform (MPN/ 100 mL) | Conductivity (μmohm/cm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Apr-20 | 7.8 | 1.6 | 4 | 30 |  | 200 | 24 | 100 | 77 | 177 | 204 |  |  | 296 |